Request Title:  Process Development of Cyclotene 3022-46

Requestor: 	Amit Gupta						Date: August 26, 2021

Non-SNF staff, please complete the following:

Badger ID:	agupta66@gmail.com

Company name/PI: Royole Corporation

Send completed form to: snf-promcommittee@lists.stanford.edu

- The chemical or material. Please provide all common names, trade names, and CAS numbers where appropriate. Include an MSDS, if available; or provide the reason, if not. Make sure to include information for any new secondary chemicals (such as a developer for a new resist). Read the MSDSs as well as the Stanford Chemical Storage Groups to determine the Storage Group Identifier and Main Hazard Class of your chemical/material.

The name of the product is Cyclotene 3022-46.  The chemical is also called BCB Cyclotene.  Below are the constituents of the chemical and their corresponding CAS numbers.

| Component | CAS # | Amount |
| --- | --- | --- |
| 1,3,5-Trimethylbenzene | 108-67-8 | >= 41.0 - <= 60.0 % |
| B-Staged divinylsiloxane-bis-benzocyclobutene resin | 124221-30-3 | >= 40.0 - <= 49.0 % |
| Quinoline, 1,2-dihydro-2,2,4-trimethyl-, polymers | 26780-96-1 | >= 0.1 - <= 10.0 % |

Please find attached the MSDS for the chemical in the same email attachment as this document.

For reference, please find the MSDS for the additional chemicals that will or highly likely be used during the development.  These chemicals have been used in the past inside SNF clean room.

We will use Adhesion Promoter AP3000 to improve adhesion of the Cyclotene to the surface of the wafer

| Component | CAS # | Amount |
| --- | --- | --- |
| Propylene glycol monomethyl ether | 107-98-2 | > 98.0% |
| Organosilicate polymer | Trade Secret | < 0.5% |
| 2-Methoxy-1-propanol | 1589-47-5 | < 0.3% |

From time to time, we may have to rework the Cyclotene layer.  We will use the chemical Rinse T1100 to remove the Cyclotene effectively without damaging the layer.

| Component | CAS # | Amount |
| --- | --- | --- |
| 1,3,5-Trimethylbenzene | 108-67-8 | >= 98.0 - <= 100.0 % |
| 1,2,4-Trimethylbenzene | 95-63-6 | <= 1.0 % |
| C9 Aromatic Isomers | Not available | <= 1.0 % |

- Vendor/manufacturer info: address and phone number, website URL.

DDP SPECIALTY ELECTRONIC MATERIALS US,

INC.

400 ARCOLA ROAD

COLLEGEVILLE PA 19426-2914

UNITED STATES

Customer Information Number: 833-338-7668

SDSQuestion-NA@dupont.com

EMERGENCY TELEPHONE NUMBER

24-Hour Emergency Contact: 1 800 424 9300

Local Emergency Contact: 800-424-9300

Vendor https://kayakuam.com/

- Reason for request: Please give serious thought to this. If you have any process information (application notes from the vendor, protocol from another lab, experimental methods section of an article), please include it, preferably as attachments. Ask yourself these questions: Is this the latest procedure? Are there newer/safer alternatives that will also work for my project? Will any of the current SNF approved chemicals and materials work for me?

We would like to test the planarization capability of the Cyclotene resin in our process.  The resin is colorless with a low curing temperature of around 250C and can be used to planarize structures with height of 5um-6um.  We will most likely perform patterning of the material using PT-Ox or Oxford-RIE to perform the dry etching of the polymer.  We would also determine the surface roughness of the resin after curing of the material.

- Process Flow: Please provide a detailed process flow description on how and where you proposed to use this chemical. This should include all Lab equipment to be used for processing your wafers once your new chemical or material has been used (even if your new material is a film that is removed, it may still pose potential contamination concerns.) Make sure to include wet benches. Please note that f the chemical/material is to be used in any the "clean" equipment, purity specifications will be needed. This is most important for chemicals/material that are not normally used for VLSI device fabrication. To be allowed into a "clean" tool, the material should MOS grade or better.

Below are the proposed processing steps:

- Spin coat the adhesion promoter AP 3000 on headway

- Spin coat Cyclotene 3022-46 on headway.

- Soft-bake using hotplates at 70-110C.

- Cure the resin using either TEK Oven or the BlueM Oven at up to 250C for at least 30 min

- Measure step height using Profilometer and surface roughness using afm2.

- Spin coat SPR220-3 resist using svgcoat1/svgcoat2.

- Expose using contact aligner karlsuss/karlsuss2.

- Develop resist using svgdev/svgdev2.

- Perform dry etching using PT-Ox or Oxford-RIE using gases oxygen and CHF3.

We will be using our own chemical container to store and handle the resin, adhesion promoter and rinse solvent.

All excess solvent and varnish will be poured into the solvent waste carboys and wipes, foils, waste swabs etc. will be placed into zip-locks and disposed-off into the solvent trash.

- Amount and form. How much will you bring in? Is it solid, powder or liquid? (Note: as a general rule, powders are not permitted in the cleanroom.) Do you need to mix it to use it?

We will store ~300 mL of the resin inside an 8 oz amber bottle at room temperature within the pass-through area at SNF where other chemicals are stored.  We will also store 300 mL of the adhesion promoter AP 3000 at SNF inside an 8 oz amber bottle.  We will bring Rinse T1100 solvent inside SNF only when necessary.

- Storage: Will you be storing your chemical/material at SNF? If so, please note any potential reactivity’s (this should be on the MSDS). Storage groups A, B, D and L are stored in the yellow solvent cabinet in the furnace support area, while storage groups C, E, F and G are stored on top of one of the Pass-through Carts. Ensure your chemical container or material is properly labeled. If there is no available room, it must be stored by in the bulk storage area. You will then need to obtain it from receiving area personnel each time you want to use it and return it to them when you are finished using it (or each time you leave the lab). Note that there is no storage of chemicals/materials in the processing lab or at any wet bench.

We propose to store the Cyclotene resin and the adhesion promoter (AP 3000) in the pass-through area of SNF where chemicals are stored at room temperature.

- Disposal: How will you dispose of any waste or excess chemical or material? In your discussions with experts and vendors, try to determine the best way to dispose of your spent chemicals and by-products. Please refer to the SNF Lab members Safety Manual for the different methods of waste disposal that are available in the lab.

We will dispose-off excess resin into the solvent waste carboys or seal in plastic zip lock bags and dispose-off in the solvent waste receptacles.  Similarly, we will properly dispose of the adhesion promoter AP 3000 and the Cyclotene Rinse solvent T1100 into the solvent waste carboys or seal in plastic zip lock bags and dispose off into the solvent waste receptacles.

To be completed by the PROM COMMITTEE:

Special handling requirements:

On-going approval or staff interaction requirements:

Approved By/Date: