Request Title: Request to use APOL-LO 3200 Series Negative Lift-Off Photoresist

Requestor: Ke Zeng							Date:  9/9/21

Non-SNF staff, please complete the following:

Badger ID: kzeng2

Company name/PI: Srabanti Chowdhury

Send completed form to: snf-promcommittee@lists.stanford.edu

- The chemical or material:

APOL-LO 3200 Series Negative Lift-Off Photoresist.

- Vendor/manufacturer info: address and phone number, website URL.

KemLab

254 W Cummings Park

Woburn, MA 01801

Phone: 781-281-0174

https://www.kemlab.com/

Email: sales@kemlab.com

- Reason for request:

For patterned wet-etch with better adhesion and reduced under-cut. All current positive photoresists produce significant undercut during wet etch of oxide.

- Process Flow:

Spin coat on headway2,

bake on hotplates,

expose with Heidelberg 1 and 2,

develop with MF-26A,

wet etch in wbflexcorr1-4.

- Amount and form:

100ML liquid in a bottle.

- Storage: Group L.

- Disposal: How will you dispose of any waste or excess chemical or material? In your discussions with experts and vendors, try to determine the best way to dispose of your spent chemicals and by-products. Please refer to the SNF Lab members Safety Manual for the different methods of waste disposal that are available in the lab.

The excess solution will be disposed of in a solvent waste carboy.

To be completed by the PROM COMMITTEE:

Special handling requirements:

On-going approval or staff interaction requirements:

Approved By/Date: