Request Title:  Temperature based capacitive measurements for Hall Devices

Requestor: 	Anand Lalwani						Date:  9/14/21

Non-SNF staff, please complete the following:

Badger ID:	anandl@stanford.edu

Company name/PI: Debbie Senesky

Send completed form to: snf-promcommittee@lists.stanford.edu

- The chemical or material. Please provide all common names, trade names, and CAS numbers where appropriate. Include an MSDS, if available; or provide the reason, if not. Make sure to include information for any new secondary chemicals (such as a developer for a new resist). Read the MSDSs as well as the Stanford Chemical Storage Groups to determine the Storage Group Identifier and Main Hazard Class of your chemical/material.

  - Hall devices

    - AlGaAs/GaAs hall devices wirebonded onto PCB

    - PCB with wires soldered for connections

- Vendor/manufacturer info: address and phone number, website URL.

  - Hotplate

    - Link to hot plate

  - SPA (Semiconductor parameter analyser)

    - Keithely instruments B1600A (already present in ExFab Ocean 151)

- Reason for request: Please give serious thought to this. If you have any process information (application notes from the vendor, protocol from another lab, experimental methods section of an article), please include it, preferably as attachments. Ask yourself these questions: Is this the latest procedure? Are there newer/safer alternatives that will also work for my project? Will any of the current SNF approved chemicals and materials work for me?

  - We wish to measure how temperature affects the capacitance of our hall devices. Specifically, does the CV measurements we take and the CF (capacitance vs frequency) change as we heat the hall device?

  - The primary purpose of the study is to investigate how the frequency limit of the hall device changes. Capacitance and resistance play a large role for that.

- Process Flow: Please provide a detailed process flow description on how and where you proposed to use this chemical. This should include all Lab equipment to be used for processing your wafers once your new chemical or material has been used (even if your new material is a film that is removed, it may still pose potential contamination concerns.) Make sure to include wet benches. Please note that f the chemical/material is to be used in any the "clean" equipment, purity specifications will be needed. This is most important for chemicals/material that are not normally used for VLSI device fabrication. To be allowed into a "clean" tool, the material should MOS grade or better.

  - We will place the wirebonded hall device on top of the hot plate and attach using kepton tape

  - We will connect BNC connectors from SPA to wires on the PCB using alligator clips

  - Temperature will be increased incrementally from room temp to 120C

    - Measured using thermocouple or laser thermometer

  - Measurements will be taken on the SPA every temperature step.

    - Specifically CV and CF measurements

  - Temperature will be ramped down to room temperature

    - Device will be taken off

    - Hot plate, once below 30C will be stored in cabinet next to SPA

- Amount and form. How much will you bring in? Is it solid, powder or liquid? (Note: as a general rule, powders are not permitted in the cleanroom.) Do you need to mix it to use it?

  - One hot plate

  - 5 wirebonded hall devices

- Storage: Will you be storing your chemical/material at SNF? If so, please note any potential reactivity’s (this should be on the MSDS). Storage groups A, B, D and L are stored in the yellow solvent cabinet in the furnace support area, while storage groups C, E, F and G are stored on top of one of the Pass-through Carts. Ensure your chemical container or material is properly labeled. If there is no available room, it must be stored by in the bulk storage area. You will then need to obtain it from receiving area personnel each time you want to use it and return it to them when you are finished using it (or each time you leave the lab). Note that there is no storage of chemicals/materials in the processing lab or at any wet bench.

- Disposal: How will you dispose of any waste or excess chemical or material? In your discussions with experts and vendors, try to determine the best way to dispose of your spent chemicals and by-products. Please refer to the SNF Lab members Safety Manual for the different methods of waste disposal that are available in the lab.

To be completed by the PROM COMMITTEE:

Special handling requirements:

On-going approval or staff interaction requirements:

Approved By/Date: