Request Title:  Standard SU-8 Processing

Requestor: Dawn Hilken							Date:  6/21/21

Non-SNF staff, please complete the following:

Badger ID: dawn.hilken@nanoshift.net

Company name/PI: Nanoshift/Salah Uddin

Send completed form to: snf-promcommittee@lists.stanford.edu

- The chemical or material. Please provide all common names, trade names, and CAS numbers where appropriate. Include an MSDS, if available; or provide the reason, if not. Make sure to include information for any new secondary chemicals (such as a developer for a new resist). Read the MSDSs as well as the Stanford Chemical Storage Groups to determine the Storage Group Identifier and Main Hazard Class of your chemical/material.

SU-8 negative epoxy resists, request 1 bottle of each:

SU8 2001

SU8 2002

SU8 2005

SU8 2035

- Vendor/manufacturer info: address and phone number, website URL.

200 Flanders Road

Westborough, MA 01581 USA

617-965-5511

SU-8 | Kayaku Advanced Materials, Inc. (kayakuam.com)

- Reason for request: Please give serious thought to this. If you have any process information (application notes from the vendor, protocol from another lab, experimental methods section of an article), please include it, preferably as attachments. Ask yourself these questions: Is this the latest procedure? Are there newer/safer alternatives that will also work for my project? Will any of the current SNF approved chemicals and materials work for me?

New request, to create microfluidic devices on 6 inch silicon wafer substrates.

- Process Flow: Please provide a detailed process flow description on how and where you proposed to use this chemical. This should include all Lab equipment to be used for processing your wafers once your new chemical or material has been used (even if your new material is a film that is removed, it may still pose potential contamination concerns.) Make sure to include wet benches. Please note that f the chemical/material is to be used in any the "clean" equipment, purity specifications will be needed. This is most important for chemicals/material that are not normally used for VLSI device fabrication. To be allowed into a "clean" tool, the material should MOS grade or better.

Basic process:

- Hand pour from bottle and spin on Headway3 spinner

- Soft bakes on hotplate* on wbexfab_solv bench

- Remove any SU-8 from backside and do edge removal – both with acetone

- UV expose on KarlSuss aligner 1 and/or 2

- Post exposure bakes on hotplate* on wbexfab_solv bench

- Develop with SNF’s standard supplied SU-8 developer - in Nanoshift supplied glass dishes, then rinse in isopropyl alcohol in Nanoshift supplied Teflon/polyprop? dishes, using a shaker table** on wbex_solv bench, and nitrogen blow dry

- Inspect and image SU-8 features on Keyence

- Measure SU-8 features on Tencor P2 and/or Alphastep

* and ** = details to be provided

- Amount and form. How much will you bring in? Is it solid, powder or liquid? (Note: as a general rule, powders are not permitted in the cleanroom.) Do you need to mix it to use it?

500mL each bottle, liquid:

SU8 2001

SU8 2002

SU8 2005

SU8 2035

- Storage: Will you be storing your chemical/material at SNF? If so, please note any potential reactivity’s (this should be on the MSDS). Storage groups A, B, D and L are stored in the yellow solvent cabinet in the furnace support area, while storage groups C, E, F and G are stored on top of one of the Pass-through Carts. Ensure your chemical container or material is properly labeled. If there is no available room, it must be stored by in the bulk storage area. You will then need to obtain it from receiving area personnel each time you want to use it and return it to them when you are finished using it (or each time you leave the lab). Note that there is no storage of chemicals/materials in the processing lab or at any wet bench.

Yes, SU-8 bottles to be stored with labels at SNF in – “Flammables cabinets  solvents, bases, organics (Resists, developers, solvents”

Hazards – flammable, volatile

Incompatible with - Strong Oxidizing Agents, Strong Bases, Strong Acids

- Disposal: How will you dispose of any waste or excess chemical or material? In your discussions with experts and vendors, try to determine the best way to dispose of your spent chemicals and by-products. Please refer to the SNF Lab members Safety Manual for the different methods of waste disposal that are available in the lab.

Solid lab wastes with SU-8 residue will be gathered and put into SNF provided plastic ziplock     bags, closed, and disposed of in hazardous bin next to wbexfab_corr or the trash bins next to the wbexfab_dev bench = Please Advise?

All spent developer will go into the carboy waste container.

To be completed by the PROM COMMITTEE:

Special handling requirements:

On-going approval or staff interaction requirements:

Approved By/Date: