Request Title:  Stress measurement

Requestor: 	Donald Gardner					Date:  5/4/2019

Non-SNF staff, please complete the following:

Badger ID:	don.gardner

Company name/PI: SLAC

Send completed form to: snf-promcommittee@lists.stanford.edu

- The chemical or material.

  - Silicon wafers with copper films sputter deposited using the Kirk Lesker.

- Vendor/manufacturer info:

  - Flexus stress measurement apparatus.

- Reason for request:

- We want to measure the stress versus temperature of thin films of copper on silicon wafers using the Flexus Stress measurement apparatus.

- Process Flow:

- Wafers will be prepared with copper films deposited onto them.  Prior to their preparation, the curvature of the wafers will be measured using the Flexus apparatus.

- After deposition, the wafers will be placed into the Flexus apparatus and thermally cycled while measuring the change in wafer curvature.  The measurements will be done in atmosphere and the copper films are expected to oxidize while being cycled.

- The temperature will be ramped up to 300C and optionally to higher temperatures depending on the capabilities of the SNF Flexus apparatus.

- Amount and form.

  - Silicon wafers with copper films as needed.

- Storage:

  - No storage needed.

- Disposal:

  - Nothing to dispose of.

To be completed by the PROM COMMITTEE:

Special handling requirements:

On-going approval or staff interaction requirements:

Approved By/Date: