Request Title:  Oxide growth on BTO film

Requestor: Yao-Te Cheng (PsiQ)				Date: 09/16/2021

Non-SNF staff, please complete the following:

Badger ID: ytcheng@stanford.edu

Company name/PI: PsiQ Corp/Chia-Jung Chung

Send completed form to: snf-promcommittee@lists.stanford.edu

- The chemical or material. 
BTO stands for BaTiO3 or barium titanate.  Since this is film was sputter deposited, we don’t have the MSDS for our film. But we can provide an MSDS of barium titanate from ThermoFisher as a reference.

- Vendor/manufacturer info: prefer not to disclose our thrid party vendor

- Reason for request: 
We would like to deposit SiO2 on our BTO film, which was sputter deposited by our vendor on silicon in a UHV chamber.

- Process Flow: 
We intend to deposit SiO2 on our BTO film at SNF to understand the surface roughness and uniformity after oxide deposition and how this can affect our BTO film.  While BTO film will be deposited outside of SNF, we plan to perform the following steps at SNF: (1) solvent clean with acetone/IPA of our BTO film. (2) Deposit SiO2 with either PECVD or HDPCVD tool.

- Amount and form. 
BTO films are solid continuous layers deposited on 2” Si substrate, polycrystalline, 150-300nm thick, not powders.  6 wafers total.

- Storage: 
Samples will be stored outside SNF

- Disposal: 
We do not expect to etch away any BTO during our process

To be completed by the PROM COMMITTEE:

Special handling requirements:

On-going approval or staff interaction requirements:

Approved By/Date: