Request Title: Perovskite Materials for LED Applications – UV Vis Tool

Requestor:  Martin Sebastian Fernandez					Date: 1/18/2021

Non-SNF staff, please complete the following:

Badger ID: Not yet given

Company name/PI: Daniel Congreve

Send completed form to: snf-promcommittee@lists.stanford.edu

- The chemical or material. Please provide all common names, trade names, and CAS numbers where appropriate. Include an MSDS, if available; or provide the reason, if not. Make sure to include information for any new secondary chemicals (such as a developer for a new resist). Read the MSDSs as well as the Stanford Chemical Storage Groups to determine the Storage Group Identifier and Main Hazard Class of your chemical/material.

- Vendor/manufacturer info: address and phone number, website URL.

- Reason for request: Please give serious thought to this. If you have any process information (application notes from the vendor, protocol from another lab, experimental methods section of an article), please include it, preferably as attachments. Ask yourself these questions: Is this the latest procedure? Are there newer/safer alternatives that will also work for my project? Will any of the current SNF approved chemicals and materials work for me?

- Process Flow: Please provide a detailed process flow description on how and where you proposed to use this chemical. This should include all Lab equipment to be used for processing your wafers once your new chemical or material has been used (even if your new material is a film that is removed, it may still pose potential contamination concerns.) Make sure to include wet benches. Please note that f the chemical/material is to be used in any the "clean" equipment, purity specifications will be needed. This is most important for chemicals/material that are not normally used for VLSI device fabrication. To be allowed into a "clean" tool, the material should MOS grade or better.

- Amount and form. How much will you bring in? Is it solid, powder or liquid? (Note: as a general rule, powders are not permitted in the cleanroom.) Do you need to mix it to use it?

- Storage: Will you be storing your chemical/material at SNF? If so, please note any potential reactivity’s (this should be on the MSDS). Storage groups A, B, D and L are stored in the yellow solvent cabinet in the furnace support area, while storage groups C, E, F and G are stored on top of one of the Pass-through Carts. Ensure your chemical container or material is properly labeled. If there is no available room, it must be stored by in the bulk storage area. You will then need to obtain it from receiving area personnel each time you want to use it and return it to them when you are finished using it (or each time you leave the lab). Note that there is no storage of chemicals/materials in the processing lab or at any wet bench.

- Disposal: How will you dispose of any waste or excess chemical or material? In your discussions with experts and vendors, try to determine the best way to dispose of your spent chemicals and by-products. Please refer to the SNF Lab members Safety Manual for the different methods of waste disposal that are available in the lab.

1. I will be working with perovskite thin films derived from precursors such as lead iodide and cesium iodide. The CAS numbers for lead iodide and cesium iodide are, respectively: 10101-63-0 and 7789-17-5. I am also attaching the corresponding SDS for both lead iodide and cesium iodide as well as our group’s SOP for these lead-based nanoparticles.

2. The following is the address, phone number, and website URL of the vendor our group uses:

MilliporeSigma:

3050 Spruce St., St. Louis, MO, 63103

1-800-521-8956

https://www.sigmaaldrich.com/united-states.html

3. The reason for the request is that I would like to characterize the UV-Vis absorption spectra of my blue perovskite thin film samples. This is a fairly typical spectra to extract in this field and will be used for further experiments.

4. I have detailed the process flow with my technical liaison Michelle Rincon. I will create my perovskite thin films in my group’s lab space and then adhere them to a glass slide that will then be sandwiched in between another larger glass slide and then apply an epoxy around the edges to both contain the  nitrogen environment within the perovskite itself as well as avoiding contamination. A further step that my group took is to purchasing our own film holder for the UV-Vis tool (Model FLH-741 Film Holder) so that we eliminate any possible contamination point between when the samples leave my group’s lab and when they are measured by the UV-Vis Tool.

5. I will bring in around 20 thin film samples made from a 1 M solution of the aforementioned perovskite precursor materials which equates to about 300 mg of lead iodide and 200 mg of cesium iodide. At that point, they will be in solid form. Any mixing will be conducted beforehand in our lab space.

6. I will not need to store any of our materials in SNF. They will be appropriately stored in our own personal lab space.

7. After measurement, I will store my samples in our personal lab space. In the event that a sample needs to be disposed of, I will follow the procedure outlined in the attached SOP.

To be completed by the PROM COMMITTEE:

Special handling requirements:

On-going approval or staff interaction requirements:

Approved By/Date: