Request Title: 70-nm-thick Al2O3 ALD deposition by Savannah in SNF

Requestor: Jung-Hwan Song					Date: May. 3rd, 2021

Non-SNF staff, please complete the following:

Badger ID: vsong21@stanford.edu

Company name/PI: Stanford University/Prof. Mark L. Brongersma

Send completed form to: snf-promcommittee@lists.stanford.edu

- The chemical or material. Alumina (Al2O3) ALD deposition with Savannah

- Vendor/manufacturer info: N. A.

- Reason for request: We are testing gate oxide layer for solid-state gating optoelectronic devices for two-dimensional semiconductor layers (e.g. WS2, MoS2, and so on). Different from the alumina with different deposition techniques, ALD alumina is known as high dielectric strength. In order to match the highest optical contrast at excitonic wavelength (~615 nm), we need 70 nm Al2O3 on Si wafer.

- Process Flow:

- We will do RCA cleaning for a clean bare Si wafers (Prime C).

- We will deposit ALD Al2O3 using Savannah for 70 nm.

- Amount and form. N. A.

- Storage: No.

- Disposal: N. A.

To be completed by the PROM COMMITTEE:

Special handling requirements:

On-going approval or staff interaction requirements:

Approved By/Date: