# Process or Materials Review Request Form

Request Title: U2OS cells on nanostructure for critical point drier

Requestor:                   Xiao Li

Date:  Jan 29, 2019

Non-SNF staff, please complete the following:

Badger ID:                                xil@stanford.edu

Company name/PI: Stanford University/Bianxiao Cui

Send completed form to: snf-promcommittee@lists.stanford.edu

- The chemical or material.

U2OS cells seeded on nanostructures made of quartz, where all the water has been replaced with ethanol. I may need to negatively stain the samples with 2% osmium tetroxide and uranyl acetate.

- Vendor/manufacturer info: https://www.atcc.org/en/Products/All/HTB-96.aspx

- Reason for request

I want to image cells on nanostructures to reveal how nanostructures modulate cell morphology. I want to use critical point drying so that I can remove the water without collapsing the structure of the cytoskeleton. I found a protocol in this paper where they critical point dry samples before imaging: https://www.nature.com/articles/ncb3137#ref61

- Process Flow

Insert sample into the CPD and remove once dry. After each run, wipe down chamber and lid carefully with IPA, then run a cycle without anything in the chamber (fill with IPA without a sample), then wipe the chamber and lid down again with IPA.

- Amount and form

Small sample on glass slides in petri dish.

- Storage

Volatile organic solvents.

- Disposal

Sharps.

To be completed by the PROM COMMITTEE:

Special handling requirements:

On-going approval or staff interaction requirements:

Approved By/Date:

V 1.0