Request Title:  Potassium Dichromate ( K2Cr2O7 ), 0.15M solution for defect etching

Requestor: Ching-Ying Lu							Date: 02/20/2019

Non-SNF staff, please complete the following:

Badger ID: lu18

Company name/PI: James Harris

Send completed form to: snf-promcommittee@lists.stanford.edu

- The chemical or material. Please provide all common names, trade names, and CAS numbers where appropriate. Include an MSDS, if available; or provide the reason, if not. Make sure to include information for any new secondary chemicals (such as a developer for a new resist). Read the MSDSs as well as the Stanford Chemical Storage Groups and the Stanford Chemical Safety Data Base sections on this website to determine the Storage Group Identifier and Main Hazard Class of your chemical/material.

Potassium Dichromate ( K2Cr2O7), 0.15M solution. CAS Number 7778-50-9. The MSDS

is attached.

C Compatible Inorganic Bases, Oxidizers, and Poisons.

- Vendor/manufacturer info: address and phone number, website URL.

SIGMA-ALDRICH

Sigma-Aldrich Corp.

St. Louis, MO, USA

1 (800) 325-3010

https://www.sigmaaldrich.com/catalog/product/sigald/p5271?lang=en&region=US

- Reason for request: Please give serious thought to this. If you have any process information (application notes from the vendor, protocol from another lab, experimental methods section of an article), please include it, preferably as attachments. Ask yourself these questions: Is this the latest procedure? Are there newer/safer alternatives that will also work for my project? Will any of the current SNF approved chemicals and materials work for me?

Si/Ge defect etching. Mixture of 0.15M K2Cr2O7 solution : 2 49% HF.

- Process Flow: Please provide a detailed process flow description on how and where you proposed to use this chemical. This should include all Lab equipment to be used for processing your wafers once your new chemical or material has been used (even if your new material is a film that is removed, it may still pose potential contamination concerns.) Make sure to include wet benches. Please note that f the chemical/material is to be used in any the "clean" equipment, purity specifications will be needed. This is most important for chemicals/material that are not normally used for VLSI device fabrication. To be allowed into a "clean" tool, the material should MOS grade or better.

1. In a fume hood at ExFab 155, mix 5g of potassium dichromate (KrCr2O7, MW: 294.18) powder with 113 g DI water to make it a 0.15M solution. Put the solution into the brown glass bottle.

2.Use the secondary containment white covered container to carry the bottle to the SNF chemical pass through area (white bin). Put the bottle in the bin.

3. Retrieve the bottle in the bin and bring it to the transfer cart. Put a bottle of 49% HF in the transfer cart as well.

4. At wbflexcorr1&2, use a gold contaminated Teflon labware and the 0.15M potassium solution with 49% HF with 1:2 ratio.

5. Put Si samples in the solution for 30 min for defect etching.

6.Dispose of hazardous solutions, mixtures, and reaction residues as hazardous waste. Also dispose the brown bottle at the hazardous waste collection bin with label on the bottle. Clean up the bench.

- Amount and form. How much will you bring in? Is it solid, powder or liquid? (Note: as a general rule, powders are not permitted in the cleanroom.) Do you need to mix it to use it?

I will bring in ~ 113L of 0.15M potassium dichromate solution that was mixed at Exfab 155

- Storage: Will you be storing your chemical/material at SNF? If so, please note any potential reactivity’s (this should be on the MSDS). Storage groups A, B, D and L are stored in the yellow solvent cabinet in the furnace support area, while storage groups C, E, F and G are stored on top of one of the Pass-through Carts. Ensure your chemical container or material is properly labeled. If there is no available room, it must be stored by in the bulk storage area. You will then need to obtain it from receiving area personnel each time you want to use it and return it to them when you are finished using it (or each time you leave the lab). Note that there is no storage of chemicals/materials in the processing lab or at any wet bench.

I will dispose the solution after one time use. No storage needed.

- Disposal: How will you dispose of any waste or excess chemical or material? In your discussions with experts and vendors, try to determine the best way to dispose of your spent chemicals and by-products. Please refer to the SNF Lab members Safety Manual for the different methods of waste disposal that are available in the lab.

I am going to collect my waste and dispose of it in labeled containers. I will also dispose the brown glass bottle.

To be completed by the PROM COMMITTEE:

Special handling requirements:

On-going approval or staff interaction requirements:

Approved By/Date: