Request Title:	ZnO nanoparticles in solvent

Requestor: David Viveros Salazar			Date: 08/08/2019

Non-SNF staff, please complete the following:

Badger ID: david@resonancelabs.io

Company name/PI: Resonance Labs, Inc./David Viveros Salazar

Send completed form to: snf-promcommittee@lists.stanford.edu

- The chemical or material. Please provide all common names, trade names, and CAS numbers where appropriate. Include an MSDS, if available; or provide the reason, if not. Make sure to include information for any new secondary chemicals (such as a developer for a new resist). Read the MSDSs as well as the Stanford Chemical Storage Groups and the Stanford Chemical Safety Data Base sections on this website to determine the Storage Group Identifier and Main Hazard Class of your chemical/material.

-Zinc oxide nanoparticle ink

-Zinc oxide nanoparticles

- Vendor/manufacturer info: address and phone number, website URL.

Sigma-Aldrich Inc.

www.sigmaaldrich.com

3050 Spruce Street

St. Louis, MO 63103 USA

+1 314 771-5765

- Reason for request: Please give serious thought to this. If you have any process information (application notes from the vendor, protocol from another lab, experimental methods section of an article), please include it, preferably as attachments. Ask yourself these questions: Is this the latest procedure? Are there newer/safer alternatives that will also work for my project? Will any of the current SNF approved chemicals and materials work for me?

This material is being used as a protective layer for the spin coating process we’re developing. Zinc oxide has been shown to be transparent for the thickness that we plan on implementing. Transparency is a requirement in our application. Additionally the ZnO layer will provide us with electronic properties necessary for our spin coated material stack.

- Process Flow: Please provide a detailed process flow description on how and where you proposed to use this chemical. This should include all Lab equipment to be used for processing your wafers once your new chemical or material has been used (even if your new material is a film that is removed, it may still pose potential contamination concerns.) Make sure to include wet benches. Please note that f the chemical/material is to be used in any the "clean" equipment, purity specifications will be needed. This is most important for chemicals/material that are not normally used for VLSI device fabrication. To be allowed into a "clean" tool, the material should MOS grade or better.

-Spin coat ZnO nanoparticles on 4 inch glass wafer. The spin coating will take place in the spin coater on the Laurell-G in Room 159. Wafer will have been spin coated with other materials previously, in the following order, PEDOT:PSS, TFB, InP nanoparticles.

-Post bake at 60° C for 30 min

-After spin coating, the wafer will be encapsulated using a glass wafer

-ALTERNATIVELY, we would like to sputter a layer of ITO on top of the spin coated and baked ZnO layer and then encapsulate with an additional wafer. The sputtering is planned to take place in the Lesker Sputter, unless the SNF staff recommends a more suitable tool for this.

- Amount and form. How much will you bring in? Is it solid, powder or liquid? (Note: as a general rule, powders are not permitted in the cleanroom.) Do you need to mix it to use it?

A 5 mL or 30 mL bottle will be shipped directly from the supplier to the SNF. The ZnO particles will be contained in either 2-propanol or ethanol. The material will be in liquid form.

- Storage: Will you be storing your chemical/material at SNF? If so, please note any potential reactivity’s (this should be on the MSDS). Storage groups A, B, D and L are stored in the yellow solvent cabinet in the furnace support area, while storage groups C, E, F and G are stored on top of one of the Pass-through Carts. Ensure your chemical container or material is properly labeled. If there is no available room, it must be stored by in the bulk storage area. You will then need to obtain it from receiving area personnel each time you want to use it and return it to them when you are finished using it (or each time you leave the lab). Note that there is no storage of chemicals/materials in the processing lab or at any wet bench.

The material will be stored in the yellow solvent cabinet since it is a flammable in Storage Group L.

- Disposal: How will you dispose of any waste or excess chemical or material? In your discussions with experts and vendors, try to determine the best way to dispose of your spent chemicals and by-products. Please refer to the SNF Lab members Safety Manual for the different methods of waste disposal that are available in the lab.

Since this material will be used in the spin coater on the Laurell-G, waste will collect on the aluminum foil in the spin coater. This waste will be placed in a waste bag specifically labeled for this mixture. Additionally, if there is any resulting waste in liquid form, it will be placed in a specific container (sealed bottle) for this mixture.

To be completed by the PROM COMMITTEE:

Special handling requirements:

On-going approval or staff interaction requirements:

Approved By/Date: