Request Title: InP/ZnS Quantum Dots in Toluene

Requestor: David Viveros Salazar						Date: 07/05/2019

Non-SNF staff, please complete the following:

Badger ID: david@resonancelabs.io

Company name/PI: Resonance Labs, Inc./David Viveros Salazar

Send completed form to: snf-promcommittee@lists.stanford.edu

- The chemical or material. Please provide all common names, trade names, and CAS numbers where appropriate. Include an MSDS, if available; or provide the reason, if not. Make sure to include information for any new secondary chemicals (such as a developer for a new resist). Read the MSDSs as well as the Stanford Chemical Storage Groups and the Stanford Chemical Safety Data Base sections on this website to determine the Storage Group Identifier and Main Hazard Class of your chemical/material.

Common Names

-InP/ZnS quantum dots in toluene

-Cadmium free quantum dots

-Cadmium free core shell quantum dots

-Core/Shell heavy metal free quantum dots

-Fluorescent nanocrystals

CAS-No.

-Toluene: 108-88-3

-Indium phosphide: 22398-80-7

Please see attached SDS.

- Vendor/manufacturer info: address and phone number, website URL.

Sigma-Aldrich

3050 Spruce Street

Saint Louis MO 63103

USA

Phone: +1 800-325-5832

Website URL: www.sigmaaldrich.com

- Reason for request: Please give serious thought to this. If you have any process information (application notes from the vendor, protocol from another lab, experimental methods section of an article), please include it, preferably as attachments. Ask yourself these questions: Is this the latest procedure? Are there newer/safer alternatives that will also work for my project? Will any of the current SNF approved chemicals and materials work for me?

Resonance Labs has already received approval of an InP based photoresist (InP Quantum Dots in mixed solvents, ver 3). We are now attempting to spin coat a non-photoresist based material. We are using these cadmium-free based nanomaterials due to their optical properties. When excited, this material emits red or green light. This is the primary requirement for our application.

- Process Flow: Please provide a detailed process flow description on how and where you proposed to use this chemical. This should include all Lab equipment to be used for processing your wafers once your new chemical or material has been used (even if your new material is a film that is removed, it may still pose potential contamination concerns.) Make sure to include wet benches. Please note that f the chemical/material is to be used in any the "clean" equipment, purity specifications will be needed. This is most important for chemicals/material that are not normally used for VLSI device fabrication. To be allowed into a "clean" tool, the material should MOS grade or better.

Substrate: 4” ITO treated fused silica wafers

  - Prepare Laurell-G workspace with aluminum foil

  - Cover inside of Laurell-G spin coater containment volume with aluminum foil

  - Prepare plastic bags for transfer of waste

  - Spin coat the InP/ZnS quantum dots onto an ITO treated wafer that has already been spin coated with PEDOT:PSS and TFB (these two materials have also been submitted by Resonance Labs to SNF for approval)

  - Bake wafer at 110° C for 5 minutes

  - Place a second wafer on top of the spin coated stack of material for encapsulation

  - Place wafer stack in cassette for storage

  - Remove aluminum foil from inside of Laurell-G spin coater and place in labeled waste bag

  - Wipe inside of spin coater with acetone, methanol, and then isopropyl alcohol

  - Clean up Laurell-G workspace

- Amount and form. How much will you bring in? Is it solid, powder or liquid? (Note: as a general rule, powders are not permitted in the cleanroom.) Do you need to mix it to use it?

We will be bringing in 5 mL bottles in secondary containment into Room 159 for spin coating on the Laurell-G. It is in liquid form.

- Storage: Will you be storing your chemical/material at SNF? If so, please note any potential reactivity’s (this should be on the MSDS). Storage groups A, B, D and L are stored in the yellow solvent cabinet in the furnace support area, while storage groups C, E, F and G are stored on top of one of the Pass-through Carts. Ensure your chemical container or material is properly labeled. If there is no available room, it must be stored by in the bulk storage area. You will then need to obtain it from receiving area personnel each time you want to use it and return it to them when you are finished using it (or each time you leave the lab). Note that there is no storage of chemicals/materials in the processing lab or at any wet bench.

The material is in liquid form and it will need to be refrigerated. If we can store the material in the lab refrigerator at 5 C, then I would like to keep it in the lab. Otherwise we will transport it into lab. According to the SNF Storage Group Guide, this material is in Group L.

- Disposal: How will you dispose of any waste or excess chemical or material? In your discussions with experts and vendors, try to determine the best way to dispose of your spent chemicals and by-products. Please refer to the SNF Lab members Safety Manual for the different methods of waste disposal that are available in the lab.

Spin coated residue will be disposed of in labeled plastic waste bags. Any liquid waste will be stored and contained in labeled plastic waste bottles.

To be completed by the PROM COMMITTEE:

Special handling requirements:

On-going approval or staff interaction requirements:

Approved By/Date: