Request Title:  	HD4110 Polyimide Resist

Requestor: 		Eric Zhao					Date:  07/15/19

Non-SNF staff, please complete the following:

Badger ID:				06193369

Company name/PI:  Nicholas Melosh

Send completed form to: snf-promcommittee@lists.stanford.edu

- The chemical or material. Please provide all common names, trade names, and CAS numbers where appropriate. Include an MSDS, if available; or provide the reason, if not. Make sure to include information for any new secondary chemicals (such as a developer for a new resist). Read the MSDSs as well as the Stanford Chemical Storage Groups to determine the Storage Group Identifier and Main Hazard Class of your chemical/material.

HD-4110, a photodefinable, negative polyimide

https://wcam.engr.wisc.edu/Public/Safety/SDS%20-%20GHS/SDS%20E-COPY/HD-4110%20Photoresist-Polyimide.pdf

Secondary chemicals include the developer, PA 401D, and rinse, PA400R

https://www.nanofab.utah.edu/wp-content/uploads/2018/08/PA-401D-HD-Microsystems-03Jan07.pdf

https://research.utdallas.edu/cleanroom/app/uploads/2018/10/PA-400R-MSDS-US.pdf

- Vendor/manufacturer info: address and phone number, website URL.

HD Microsystems

http://www.hdmicrosystems.com

Customer service rep, Marie Carrano : 800-346-5656 ext. 14

- Reason for request: Please give serious thought to this. If you have any process information (application notes from the vendor, protocol from another lab, experimental methods section of an article), please include it, preferably as attachments. Ask yourself these questions: Is this the latest procedure? Are there newer/safer alternatives that will also work for my project? Will any of the current SNF approved chemicals and materials work for me?

Polyimide required to make patterned flexible devices for neural recordings.

Process Flow: Please provide a detailed process flow description on how and where you proposed to use this chemical. This should include all Lab equipment to be used for processing your wafers once your new chemical or material has been used (even if your new material is a film that is removed, it may still pose potential contamination concerns.) Make sure to include wet benches. Please note that f the chemical/material is to be used in any the "clean" equipment, purity specifications will be needed. This is most important for chemicals/material that are not normally used for VLSI device fabrication. To be allowed into a "clean" tool, the material should MOS grade or better.

Headway2 to spin on the polyimide at 3000rpm for 30 seconds

Softbake at 100 degrees for 200 seconds

Expose with either karlsuss, or if possible heidelberg2 (i-line compatible)

Postexposure bake 80 degrees for 60 seconds

Develop and rinse manually

Hardbake in blue-m oven (nitrogen ambient in a furnace) at 375C for 60 minutes.

- Amount and form. How much will you bring in? Is it solid, powder or liquid? (Note: as a general rule, powders are not permitted in the cleanroom.) Do you need to mix it to use it?

The photoresist, developer and rinse all come in a liquid form, the amounts are 1kg, 3.8L, and 3.8L respectively. Ideally will aliquot it such that the main photoresist can be stored in the freezer.

- Storage: Will you be storing your chemical/material at SNF? If so, please note any potential reactivity’s (this should be on the MSDS). Storage groups A, B, D and L are stored in the yellow solvent cabinet in the furnace support area, while storage groups C, E, F and G are stored on top of one of the Pass-through Carts. Ensure your chemical container or material is properly labeled. If there is no available room, it must be stored by in the bulk storage area. You will then need to obtain it from receiving area personnel each time you want to use it and return it to them when you are finished using it (or each time you leave the lab). Note that there is no storage of chemicals/materials in the processing lab or at any wet bench.

Yes, the developer and rinse will be in Storage group A,

Photoresist preferably in the freezer.

- Disposal: How will you dispose of any waste or excess chemical or material? In your discussions with experts and vendors, try to determine the best way to dispose of your spent chemicals and by-products. Please refer to the SNF Lab members Safety Manual for the different methods of waste disposal that are available in the lab.

Developer goes in organic solvent waste, mainly consists of cyclopentanone (60%)

Rinse also goes in organic solvent waste, mainly consists of is 1-Methoxy-2-propyl-acetate

Not sure about photoresist.

To be completed by the PROM COMMITTEE:

Special handling requirements:

On-going approval or staff interaction requirements:

Approved By/Date: