Request Title:  	Poly(pentafluorostyrene)

Requestor: 			Joseph Katz				Date:  4 June 2019

Non-SNF staff, please complete the following:

Badger ID:				jkatz1

Company name/PI: Kenneth Goodson

Send completed form to: snf-promcommittee@lists.stanford.edu

- The chemical or material. Please provide all common names, trade names, and CAS numbers where appropriate. Include an MSDS, if available; or provide the reason, if not. Make sure to include information for any new secondary chemicals (such as a developer for a new resist). Read the MSDSs as well as the Stanford Chemical Storage Groups and the Stanford Chemical Safety Data Base sections on this website to determine the Storage Group Identifier and Main Hazard Class of your chemical/material.

Poly(pentafluorostyrene), P5FS, poly(2,3,4,5,6-pentafluorostyrene), poly(fluorostyrene)

- Vendor/manufacturer info: address and phone number, website URL.

Polymer Source, Inc.

124 Avenue Avro, Dorval (Montreal)

Quebec H9P 2X8 Canada

1-866-422-9842

https://www.polymersource.ca/index.php?route=common/home

- Reason for request: Please give serious thought to this. If you have any process information (application notes from the vendor, protocol from another lab, experimental methods section of an article), please include it, preferably as attachments. Ask yourself these questions: Is this the latest procedure? Are there newer/safer alternatives that will also work for my project? Will any of the current SNF approved chemicals and materials work for me?

I will be measuring the thermal conductivity of this material, alternative materials are not an option.

- Process Flow: Please provide a detailed process flow description on how and where you proposed to use this chemical. This should include all Lab equipment to be used for processing your wafers once your new chemical or material has been used (even if your new material is a film that is removed, it may still pose potential contamination concerns.) Make sure to include wet benches. Please note that f the chemical/material is to be used in any the "clean" equipment, purity specifications will be needed. This is most important for chemicals/material that are not normally used for VLSI device fabrication. To be allowed into a "clean" tool, the material should MOS grade or better.

Spin coating (headway)

Baking (hot plate, ~150C, ~5 minutes)

Step height measurement (alphastep)

- Amount and form. How much will you bring in? Is it solid, powder or liquid? (Note: as a general rule, powders are not permitted in the cleanroom.) Do you need to mix it to use it?

Up to 5 mL at ~20% concentration in toluene (toluene has already been approved). The material will be delivered in solid or powdered form, but the solution will be prepared in a different lab.

- Storage: Will you be storing your chemical/material at SNF? If so, please note any potential reactivity’s (this should be on the MSDS). Storage groups A, B, D and L are stored in the yellow solvent cabinet in the furnace support area, while storage groups C, E, F and G are stored on top of one of the Pass-through Carts. Ensure your chemical container or material is properly labeled. If there is no available room, it must be stored by in the bulk storage area. You will then need to obtain it from receiving area personnel each time you want to use it and return it to them when you are finished using it (or each time you leave the lab). Note that there is no storage of chemicals/materials in the processing lab or at any wet bench.

No storage is necessary. I will prepare only what I expect to use for a single session and bring any residual solution back to my lab.

- Disposal: How will you dispose of any waste or excess chemical or material? In your discussions with experts and vendors, try to determine the best way to dispose of your spent chemicals and by-products. Please refer to the SNF Lab members Safety Manual for the different methods of waste disposal that are available in the lab.

The main concern for disposal would be the toluene, rather than the polymer itself, so it would be placed in a Ziploc bag, sealed, and placed in the solvent-contaminated waste adjacent to the Headway station.

To be completed by the PROM COMMITTEE:

Special handling requirements:

On-going approval or staff interaction requirements:

Approved By/Date: